## export
PRODUCTNAME | FTXK25AV1BW / RXK25AV1B Preliminary
Indoor unit |  |  |  |  | FTXK25AW
Outdoor unit |  |  |  |  | RXK25A
Cooling capacity | Nom. |  |  | kW | 1956-02-01
Heating capacity | Nom. |  |  | kW | 1984-02-01
Power input | Cooling | Nom. |  | kW | 0.69
| Heating | Nom. |  | kW | 0.70
Nominal efficiency | EER |  |  |  | 3.69 (1)
| COP |  |  |  | 4.06 (1)
| Annual energy consumption |  |  | kWh | 347
| Energy label | Cooling |  |  | A
|  | Heating |  |  | A
Seasonal efficiency (according to EN14825) | Cooling | Energy label |  |  | A+
|  | SEER |  |  | 1961-05-01
| Heating (Average climate) | Energy label |  |  | A
|  | SCOP |  |  | 1981-03-01
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 1952-09-01
Notes |  |  |  |  | EER/COP according to Eurovent 2012, for use outside EU only
Nominal efficiency: cooling at 35°/27° nominal load, heating at 7°/20° nominal load
PRODUCTNAME | FTXK25AV1BS / RXK25AV1B Preliminary
Indoor unit |  |  |  |  | FTXK25AS
Outdoor unit |  |  |  |  | RXK25A
Cooling capacity | Nom. |  |  | kW | 1956-02-01
Heating capacity | Nom. |  |  | kW | 1984-02-01
Power input | Cooling | Nom. |  | kW | 0.69
| Heating | Nom. |  | kW | 0.70
Nominal efficiency | EER |  |  |  | 3.69 (1)
| COP |  |  |  | 4.06 (1)
| Annual energy consumption |  |  | kWh | 347
| Energy label | Cooling |  |  | A
|  | Heating |  |  | A
Seasonal efficiency (according to EN14825) | Cooling | Energy label |  |  | A+
|  | SEER |  |  | 1961-05-01
| Heating (Average climate) | Energy label |  |  | A
|  | SCOP |  |  | 1981-03-01
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 1952-09-01
Notes |  |  |  |  | EER/COP according to Eurovent 2012, for use outside EU only
Nominal efficiency: cooling at 35°/27° nominal load, heating at 7°/20° nominal load
PRODUCTNAME | RXK25AV1B Preliminary
Dimensions | Unit | Height |  | mm | 550
|  | Width |  | mm | 658
|  | Depth |  | mm | 289
Weight | Unit |  |  | kg | 31
Heat exchanger | Rows | Quantity |  |  | 1
Compressor | Model |  |  |  | 1YC23AUXD
Operation range | Cooling | Ambient | Min. | °CDB | -10
|  |  | Max. | °CDB | 46
| Heating | Ambient | Min. | °CWB | -15
|  |  | Max. | °CWB | 18
Sound power level | Cooling |  |  | dBA | 58
| Heating |  |  | dBA | 58
Sound pressure level | Cooling | Nom. |  | dBA | 45
| Heating | Nom. |  | dBA | 45
Refrigerant | Type |  |  |  | R-410A
| GWP |  |  |  | 2,087.5
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 1952-09-01
Capacity control | Method |  |  |  | Inverter controlled
Power supply | Name |  |  |  | V1
| Phase |  |  |  | 1~
| Frequency |  |  | Hz | 50
| Voltage |  |  | V | 220-240
Current - 50Hz | Maximum fuse amps (MFA) |  |  | A | 16
Notes |  |  |  |  | Contains fluorinated greenhouse gases