## export (2)
PRODUCTNAME | FTXK50AV1BW / RXK50AV1B Preliminary
Indoor unit |  |  |  |  | FTXK50AW
Outdoor unit |  |  |  |  | RXK50A
Cooling capacity | Nom. |  |  | kW | 1948-05-01
Heating capacity | Nom. |  |  | kW | 1962-05-01
Power input | Cooling | Nom. |  | kW | 1970-01-01
| Heating | Nom. |  | kW | 1950-01-01
Nominal efficiency | EER |  |  |  | 3.22 (1)
| COP |  |  |  | 3.75 (1)
| Annual energy consumption |  |  | kWh | 851
| Energy label | Cooling |  |  | A
|  | Heating |  |  | A
Seasonal efficiency (according to EN14825) | Cooling | Energy label |  |  | A+
|  | SEER |  |  | 1988-05-01
| Heating (Average climate) | Energy label |  |  | A
|  | SCOP |  |  | 1999-03-01
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 1970-12-01
Notes |  |  |  |  | EER/COP according to Eurovent 2012, for use outside EU only
Nominal efficiency: cooling at 35°/27° nominal load, heating at 7°/20° nominal load
PRODUCTNAME | FTXK50AV1BS / RXK50AV1B Preliminary
Indoor unit |  |  |  |  | FTXK50AS
Outdoor unit |  |  |  |  | RXK50A
Cooling capacity | Nom. |  |  | kW | 1948-05-01
Heating capacity | Nom. |  |  | kW | 1962-05-01
Power input | Cooling | Nom. |  | kW | 1970-01-01
| Heating | Nom. |  | kW | 1950-01-01
Nominal efficiency | EER |  |  |  | 3.22 (1)
| COP |  |  |  | 3.75 (1)
| Annual energy consumption |  |  | kWh | 851
| Energy label | Cooling |  |  | A
|  | Heating |  |  | A
Seasonal efficiency (according to EN14825) | Cooling | Energy label |  |  | A+
|  | SEER |  |  | 1988-05-01
| Heating (Average climate) | Energy label |  |  | A
|  | SCOP |  |  | 1999-03-01
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 1970-12-01
Notes |  |  |  |  | EER/COP according to Eurovent 2012, for use outside EU only
Nominal efficiency: cooling at 35°/27° nominal load, heating at 7°/20° nominal load
PRODUCTNAME | RXK50AV1B Preliminary
Dimensions | Unit | Height |  | mm | 753
|  | Width |  | mm | 855
|  | Depth |  | mm | 328
Weight | Unit |  |  | kg | 44
Heat exchanger | Rows | Quantity |  |  | 2
Compressor | Model |  |  |  | 2YC36B (RE)
Operation range | Cooling | Ambient | Min. | °CDB | -10
|  |  | Max. | °CDB | 46
| Heating | Ambient | Min. | °CWB | -15
|  |  | Max. | °CWB | 18
Sound power level | Cooling |  |  | dBA | 64
| Heating |  |  | dBA | 64
Sound pressure level | Cooling | Nom. |  | dBA | 51
| Heating | Nom. |  | dBA | 51
Refrigerant | Type |  |  |  | R-410A
| GWP |  |  |  | 2,087.5
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 1970-12-01
Capacity control | Method |  |  |  | Inverter controlled
Power supply | Name |  |  |  | V1
| Phase |  |  |  | 1~
| Frequency |  |  | Hz | 50
| Voltage |  |  | V | 220-240
Current - 50Hz | Maximum fuse amps (MFA) |  |  | A | 20
Notes |  |  |  |  | Contains fluorinated greenhouse gases