## export (3)
PRODUCTNAME | FTXK60AV1BW / RXK60AV1B Preliminary
Indoor unit |  |  |  |  | FTXK60AW
Outdoor unit |  |  |  |  | RXK60A
Cooling capacity | Nom. |  |  | kW | 2023-06-01
Heating capacity | Nom. |  |  | kW | 1940-06-01
Power input | Cooling | Nom. |  | kW | 1993-01-01
| Heating | Nom. |  | kW | 1968-01-01
Nominal efficiency | EER |  |  |  | 3.23 (1)
| COP |  |  |  | 3.81 (1)
| Annual energy consumption |  |  | kWh | 964
| Energy label | Cooling |  |  | A
|  | Heating |  |  | A
Seasonal efficiency (according to EN14825) | Cooling | Energy label |  |  | A+
|  | SEER |  |  | 2015-05-06
| Heating (Average climate) | Energy label |  |  | A
|  | SCOP |  |  | 1981-03-01
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 15.90
Notes |  |  |  |  | EER/COP according to Eurovent 2012, for use outside EU only
Nominal efficiency: cooling at 35°/27° nominal load, heating at 7°/20° nominal load
PRODUCTNAME | FTXK60AV1BS / RXK60AV1B Preliminary
Indoor unit |  |  |  |  | FTXK60AS
Outdoor unit |  |  |  |  | RXK60A
Cooling capacity | Nom. |  |  | kW | 2023-06-01
Heating capacity | Nom. |  |  | kW | 1940-06-01
Power input | Cooling | Nom. |  | kW | 1993-01-01
| Heating | Nom. |  | kW | 1968-01-01
Nominal efficiency | EER |  |  |  | 3.23 (1)
| COP |  |  |  | 3.81 (1)
| Annual energy consumption |  |  | kWh | 964
| Energy label | Cooling |  |  | A
|  | Heating |  |  | A
Seasonal efficiency (according to EN14825) | Cooling | Energy label |  |  | A+
|  | SEER |  |  | 2015-05-06
| Heating (Average climate) | Energy label |  |  | A
|  | SCOP |  |  | 1981-03-01
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 15.90
Notes |  |  |  |  | EER/COP according to Eurovent 2012, for use outside EU only
Nominal efficiency: cooling at 35°/27° nominal load, heating at 7°/20° nominal load
PRODUCTNAME | RXK60AV1B Preliminary
Dimensions | Unit | Height |  | mm | 753
|  | Width |  | mm | 855
|  | Depth |  | mm | 328
Weight | Unit |  |  | kg | 44
Heat exchanger | Rows | Quantity |  |  | 2
Compressor | Model |  |  |  | 2YC36B (RE)
Operation range | Cooling | Ambient | Min. | °CDB | -10
|  |  | Max. | °CDB | 46
| Heating | Ambient | Min. | °CWB | -15
|  |  | Max. | °CWB | 18
Sound power level | Cooling |  |  | dBA | 65
| Heating |  |  | dBA | 65
Sound pressure level | Cooling | Nom. |  | dBA | 51
| Heating | Nom. |  | dBA | 51
Refrigerant | Type |  |  |  | R-410A
| GWP |  |  |  | 2,087.5
Piping connections | Liquid | OD |  | mm | 1935-06-01
| Gas | OD |  | mm | 15.90
Capacity control | Method |  |  |  | Inverter controlled
Power supply | Name |  |  |  | V1
| Phase |  |  |  | 1~
| Frequency |  |  | Hz | 50
| Voltage |  |  | V | 220-240
Current - 50Hz | Maximum fuse amps (MFA) |  |  | A | 20
Notes |  |  |  |  | Contains fluorinated greenhouse gases